## Pre-Con. Risk Assessment
Project Pre-Construction Risk Assessment
IC #:
1 – General Information | [11 empty] | Date:
Project: | [11 empty] | Project/WO No:
Project Location:
Project Manager: | [5 empty] | Phone Number:
Contractor: | [5 empty] | Phone Number: | [7 empty] | `
Contractor Sup: | [5 empty] | Phone Number:
Start Date: | [5 empty] | Duration:
Work Activities:
DEPARTMENTS AFFECTED
| Above: | [6 empty] | North:
[5 empty] | West: | [5 empty] | East:
| Project | [6 empty] | Project
| Below: | [6 empty] | South:
| SECTION VIEW | [6 empty] | PLAN VIEW
Comments/ Project Scope of Work:
2 – Infection Control Risk Assessment (ICRA)
CONSTRUCTION ACTIVITY TYPE
PATIENT RISK GROUP |  | Type A: | Type B: |  |  | Type C: |  |  |  |  | Type D:
|  | Inspection and Non-Invasive Activity | Small scale, short duration activities creating minimal dust |  |  | Activity generates moderate to high levels of dust or requires demolition or removal of building components, or requires greater than 1 work shift for completion |  |  |  |  | Major demolition or construction activities requiring consecutive work shifts
LOW |  | Class I | Class II |  |  | Class II |  |  |  |  | Class III/IV
MEDIUM |  | Class I | Class II |  |  | Class III |  |  |  |  | Class IV
MEDIUM/HIGH |  | Class I | Class II |  |  | Class III/IV |  |  |  |  | Class IV
HIGHEST |  | Class II | Class III/IV |  |  | Class III/IV |  |  |  |  | Class IV
Note: Infection Control permit required for Class III and Class IV projects
INTERIM INFECTION CONTROL MEASURES (Check all that apply)
CLASS I | Execute work by methods to minimize raising dust from construction operations. | [8 empty] | Wet mop and/or vacuum before leaving area.
Immediately replace ceiling tile displaced for visual inspection.
CLASS II | Provide active means to prevent airborne dust from dispersing into atmosphere. | [8 empty] | Contain construction waste in tightly covered containers before transporting.
| Seal unused doors with tape. | [8 empty] | Wet mop and/or vacuum with HEPA filtered vacuum before leaving work area.
| Block off and seal air vents. | [8 empty] | Wipe surfaces with disinfectant.
| Place dust mat at entrance and exit of work area. | [8 empty] | Remove isolation of HVAC.
Isolate HVAC system in areas where work is being performed.
Water mist work surfaces to control dust while cutting.
CLASS III IC Permit Required | Isolate HVAC system in area work is being performed to prevent contamination of duct system. | [8 empty] | Do not remove barriers until area is inspected by IC and Safety and thoroughly cleaned by Environmental Services Department.
| Complete all critical barriers, (sheetrock, plywood, plastic) to seal area from non-work area or implement control cube method (cart with plastic covering and sealed connection to work site with HEPA vacuum for vacuuming prior to exit) before construction begins. | [8 empty] | Remove barrier materials carefully to minimize spreading of dirt and debris. Transport in tightly covered & sealed containers.
| Seal holes, pipes, conduits and punctures appropriately. Place dust mat at entrance and exit of work area. | [8 empty] | Vacuum work area with HEPA filtered vacuums.
| Maintain negative air pressure within work site utilizing HEPA equipped air filtration units. | [8 empty] | Wet mop area with disinfectant.
| Contain construction waste and transport in tightly covered & sealed containers before transporting. | [8 empty] | Remove isolation of HVAC system.
CLASS IV IC Permit Required | Isolate HVAC system in area where work is being done to prevent contamination of duct system Seal unused doors with tape. | [8 empty] | Do not remove barriers until area is inspected by IC and Safety and thoroughly cleaned by Environmental Services Department.
| Complete all critical barriers, (sheetrock, plywood, plastic) to seal area from non-work area or implement control cube method (cart with plastic covering and sealed connection to work site with HEPA vacuum for vacuuming prior to exit) before construction begins. | [8 empty] | Remove barrier material carefully to minimize spreading of dirt and debris. Transport in tightly covered sealed containers.
| Seal holes, pipes, conduits and punctures appropriately. Place dust mat at entrance and exit of work area. | [8 empty] | Vacuum work area with HEPA filtered vacuums.
| Construct ante room & require all personnel to pass through so they can be vacuumed using a HEPA vacuum cleaner before leaving work area or they can wear cloth or paper coveralls that are removed each time they leave the work area. | [8 empty] | Wet mop area with disinfectant.
| Personnel entering work area are required to wear shoe covers. Shoe covers must be changed each time worker exits work area. | [8 empty] | Remove isolation of HVAC system.
Contain construction waste and transport in tightly covered & sealed containers before transporting.
Maintain negative air pressure within work site utilizing HEPA equipped air filtration units.
3 – Interim Life Safety Measures Assessment
Life Safety Features | [5 empty] | No | Yes | If yes, what is ILSM?
1. Will the project breach, alter, or compromise the integrity of any exits, exit routes, or the means of egress?
2. Will the project impair any structural or compartmentalization features of life safety?(i.e. fire/smoke barriers, floor slabs, walls, etc.)
3. Will the project obstruct access by emergency services or by fire, police, or other emergency forces?
4. Will fire alarm, detection, or suppression systems be impaired?
5. Will an approved fire alarm or automatic sprinkler system be out of service for more than 4 hours in a 24-hour period?
6. Will the project involve hot work? (i.e. cutting, welding, torches, open flame devices, etc.)
7. Will the project involve the presence of large quantities of combustibles or debris?
8. Will any other existing or temporary life safety features be compromised?
Interim Life Safety Measures (ILSM) are not required
Interim Life Safety Measures (ILSM) are required (Check all that apply)
1. Ensure free and unobstructed exits. Give staff additional information/communication when alternative exits are designated. Buildings or areas under construction must maintain escape routes for construction workers at all times, and the means of exiting construction areas shall be inspected daily.
2. Ensure free and unobstructed access to emergency services and for fire, police, and other emergency forces.
3. Ensure that fire alarm, detection, and suppression systems are in good working order. A temporary but equivalent system shall be provided when any fire system is impaired. Temporary systems shall be inspected and tested monthly.
4. Ensure that temporary construction partitions are smoke-tight and built of noncombustible or limited combustible materials that will not contribute to the development or spread of fire.
5. Provide additional fire-fighting equipment and train staff in its use.
6. Prohibit smoking throughout the hospital's buildings and in and near construction areas.
7. Develop and enforce storage, housekeeping, and debris-removal practices that reduce the building's flammable and combustible fire load to the lowest feasible level.
8. Conduct a minimum of two fire drills per shift per quarter.
9. Increase surveillance of buildings, grounds, and equipment, with special attention to excavations, construction areas, construction storage, and field offices.
10. Train staff to compensate for impaired structural or compartmentalization features of fire safety.
11. Conduct hospital wide safety education programs to promote awareness of fire-safety building deficiencies, construction hazards, and ILSMs.
12. Other.
Comments:
4 – Other Potential Risks
Issues |  | Not a Risk | Risk | Action/Comments
Noise
Vibration
Air Quality
Infection Control
Emergency Procedures
Utility Failures
Operational impact
Contractor Access Route
Equipment Danger/Risk
Issues |  | Yes | No | Action/Comments
Hot Work Permit
Above Ceiling Permit
Additional Requirements:
SIGNATURES / DISTRIBUTION LIST / DATES
Responsible Management/Department:
Safety Officer or Designee:
Infection Control:
Exceptions/Additions to this risk assessment are noted by Attached:
Patient Risk Groups
| Low Risk |  | Medium Risk |  |  | High Risk |  |  | Highest Risk
| Office areas |  | Cardiology |  |  | CCU |  |  | Any area caring for immunocompromised patients
|  |  | Echocardiography |  |  | Emergency Room |  |  | Burn Unit
|  |  | Endoscopy |  |  | Labor & Delivery |  |  | Cardiac Cath Lab
|  |  | Nuclear Medicine |  |  | Laboratories (specimen) |  |  | Central Sterile Supply
|  |  | Physical Therapy |  |  | Medical Units |  |  | Intensive Care Units
|  |  | Radiology/MRI |  |  | Newborn Nursery |  |  | Negative pressure isolation rooms |  |  |  | 5
|  |  | Respiratory Therapy |  |  | Outpatient Surgery |  |  | Oncology
[6 empty] | Pediatrics |  |  | Operating rooms including C-section rooms
Pharmacy
Post Anesthesia Care Unit
Surgical Units
End of Risk Assessment

## ICRA for "Secondary Cont Areas"
Attachment 1 – Infection Control Risk Assessment (ICRA) "Secondary Containment Area"
Location(s):
CONSTRUCTION ACTIVITY TYPE
PATIENT RISK GROUP |  | Type A: | Type B: | Type C: |  | Type D:
|  | Inspection and Non-Invasive Activity | Small scale, short duration activities creating minimal dust | Activity generates moderate to high levels of dust or requires demolition or removal of building components, or requires greater than 1 work shift for completion |  | Major demolition or construction activities requiring consecutive work shifts
LOW |  | I | II | II |  | III/IV
MEDIUM |  | I | II | III |  | IV
HIGH |  | I | II | III/IV |  | IV
SENSITIVE |  | II | III/IV | III/IV |  | IV
Note: Attach to the end of the Pre-Construction Risk Assessment
INTERIM INFECTION CONTROL MEASURES (Check all that apply)
CLASS I | Execute work by methods to minimize raising dust from construction operations. |  |  |  | Wet mop and/or vacuum before leaving area.
Immediately replace ceiling tile displaced for visual inspection.
CLASS II | Provide active means to prevent airborne dust from dispersing into atmosphere. |  |  |  | Contain construction waste in tightly covered containers before transporting.
| Seal unused doors with tape. |  |  |  | Wet mop and/or vacuum with HEPA filtered vacuum before leaving work area.
| Block off and seal air vents. |  |  |  | Wipe surfaces with disinfectant.
| Place dust mat at entrance and exit of work area. |  |  |  | Remove isolation of HVAC.
Isolate HVAC system in areas where work is being performed.
Water mist work surfaces to control dust while cutting.
CLASS III | Isolate HVAC system in area work is being performed to prevent contamination of duct system. |  |  |  | Do not remove barriers until area is inspected by CRA Group and thoroughly cleaned by Environmental Services Department.
| Complete all critical barriers, (sheetrock, plywood, plastic) to seal area from non-work area or implement control cube method (cart with plastic covering and sealed connection to work site with HEPA vacuum for vacuuming prior to exit) before construction begins. |  |  |  | Remove barrier materials carefully to minimize spreading of dirt and debris. Transport in tightly covered & sealed containers.
| Seal holes, pipes, conduits and punctures appropriately. Place dust mat at entrance and exit of work area. |  |  |  | Vacuum work area with HEPA filtered vacuums.
| Maintain negative air pressure within work site utilizing HEPA equipped air filtration units. |  |  |  | Wet mop area with disinfectant.
| Contain construction waste and transport in tightly covered & sealed containers before transporting. |  |  |  | Remove isolation of HVAC system.
CLASS IV | Isolate HVAC system in area where work is being done to prevent contamination of duct system Seal unused doors with tape. |  |  |  | Do not remove barriers until area is inspected by CRA Group and thoroughly cleaned by Environmental Services Department.
| Complete all critical barriers, (sheetrock, plywood, plastic) to seal area from non-work area or implement control cube method (cart with plastic covering and sealed connection to work site with HEPA vacuum for vacuuming prior to exit) before construction begins. |  |  |  | Remove barrier material carefully to minimize spreading of dirt and debris. Transport in tightly covered sealed containers.
| Seal holes, pipes, conduits and punctures appropriately. |  |  |  | Vacuum work area with HEPA filtered vacuums.
| Construct ante room & require all personnel to pass through so they can be vacuumed using a HEPA vacuum cleaner before leaving work area or they can wear cloth or paper coveralls that are removed each time they leave the work area. |  |  |  | Wet mop area with disinfectant.
| Personnel entering work area are required to wear shoe covers. Shoe covers must be changed each time worker exits work area. |  |  |  | Remove isolation of HVAC system.
Contain construction waste and transport in tightly covered & sealed containers before transporting.
Maintain negative air pressure within work site utilizing HEPA equipped air filtration units.

## ICRA for "Secondary Cont Ar(2)"
Attachment 2 – Infection Control Risk Assessment (ICRA) "Secondary Containment Area"
Location(s):
CONSTRUCTION ACTIVITY TYPE
PATIENT RISK GROUP |  | Type A: | Type B: | Type C: |  | Type D:
|  | Inspection and Non-Invasive Activity | Small scale, short duration activities creating minimal dust | Activity generates moderate to high levels of dust or requires demolition or removal of building components, or requires greater than 1 work shift for completion |  | Major demolition or construction activities requiring consecutive work shifts
LOW |  | I | II | II |  | III/IV
MEDIUM |  | I | II | III |  | IV
HIGH |  | I | II | III/IV |  | IV
SENSITIVE |  | II | III/IV | III/IV |  | IV
Note: Attach to the end of the Pre-Construction Risk Assessment
INTERIM INFECTION CONTROL MEASURES (Check all that apply)
CLASS I | Execute work by methods to minimize raising dust from construction operations. |  |  |  | Wet mop and/or vacuum before leaving area.
Immediately replace ceiling tile displaced for visual inspection.
CLASS II | Provide active means to prevent airborne dust from dispersing into atmosphere. |  |  |  | Contain construction waste in tightly covered containers before transporting.
| Seal unused doors with tape. |  |  |  | Wet mop and/or vacuum with HEPA filtered vacuum before leaving work area.
| Block off and seal air vents. |  |  |  | Wipe surfaces with disinfectant.
| Place dust mat at entrance and exit of work area. |  |  |  | Remove isolation of HVAC.
Isolate HVAC system in areas where work is being performed.
Water mist work surfaces to control dust while cutting.
CLASS III | Isolate HVAC system in area work is being performed to prevent contamination of duct system. |  |  |  | Do not remove barriers until area is inspected by CRA Group and thoroughly cleaned by Environmental Services Department.
| Complete all critical barriers, (sheetrock, plywood, plastic) to seal area from non-work area or implement control cube method (cart with plastic covering and sealed connection to work site with HEPA vacuum for vacuuming prior to exit) before construction begins. |  |  |  | Remove barrier materials carefully to minimize spreading of dirt and debris. Transport in tightly covered & sealed containers.
| Seal holes, pipes, conduits and punctures appropriately. Place dust mat at entrance and exit of work area. |  |  |  | Vacuum work area with HEPA filtered vacuums.
| Maintain negative air pressure within work site utilizing HEPA equipped air filtration units. |  |  |  | Wet mop area with disinfectant.
| Contain construction waste and transport in tightly covered & sealed containers before transporting. |  |  |  | Remove isolation of HVAC system.
CLASS IV | Isolate HVAC system in area where work is being done to prevent contamination of duct system Seal unused doors with tape. |  |  |  | Do not remove barriers until area is inspected by CRA Group and thoroughly cleaned by Environmental Services Department.
| Complete all critical barriers, (sheetrock, plywood, plastic) to seal area from non-work area or implement control cube method (cart with plastic covering and sealed connection to work site with HEPA vacuum for vacuuming prior to exit) before construction begins. |  |  |  | Remove barrier material carefully to minimize spreading of dirt and debris. Transport in tightly covered sealed containers.
| Seal holes, pipes, conduits and punctures appropriately. |  |  |  | Vacuum work area with HEPA filtered vacuums.
| Construct ante room & require all personnel to pass through so they can be vacuumed using a HEPA vacuum cleaner before leaving work area or they can wear cloth or paper coveralls that are removed each time they leave the work area. |  |  |  | Wet mop area with disinfectant.
| Personnel entering work area are required to wear shoe covers. Shoe covers must be changed each time worker exits work area. |  |  |  | Remove isolation of HVAC system.
Contain construction waste and transport in tightly covered & sealed containers before transporting.
Maintain negative air pressure within work site utilizing HEPA equipped air filtration units.

## ICRA for "Secondary Cont Ar(3)"
Attachment 3 – Infection Control Risk Assessment (ICRA) "Secondary Containment Area"
Location(s):
CONSTRUCTION ACTIVITY TYPE
PATIENT RISK GROUP |  | Type A: | Type B: | Type C: |  | Type D:
|  | Inspection and Non-Invasive Activity | Small scale, short duration activities creating minimal dust | Activity generates moderate to high levels of dust or requires demolition or removal of building components, or requires greater than 1 work shift for completion |  | Major demolition or construction activities requiring consecutive work shifts
LOW |  | I | II | II |  | III/IV
MEDIUM |  | I | II | III |  | IV
HIGH |  | I | II | III/IV |  | IV
SENSITIVE |  | II | III/IV | III/IV |  | IV
Note: Attach to the end of the Pre-Construction Risk Assessment
INTERIM INFECTION CONTROL MEASURES (Check all that apply)
CLASS I | Execute work by methods to minimize raising dust from construction operations. |  |  |  | Wet mop and/or vacuum before leaving area.
Immediately replace ceiling tile displaced for visual inspection.
CLASS II | Provide active means to prevent airborne dust from dispersing into atmosphere. |  |  |  | Contain construction waste in tightly covered containers before transporting.
| Seal unused doors with tape. |  |  |  | Wet mop and/or vacuum with HEPA filtered vacuum before leaving work area.
| Block off and seal air vents. |  |  |  | Wipe surfaces with disinfectant.
| Place dust mat at entrance and exit of work area. |  |  |  | Remove isolation of HVAC.
Isolate HVAC system in areas where work is being performed.
Water mist work surfaces to control dust while cutting.
CLASS III | Isolate HVAC system in area work is being performed to prevent contamination of duct system. |  |  |  | Do not remove barriers until area is inspected by CRA Group and thoroughly cleaned by Environmental Services Department.
| Complete all critical barriers, (sheetrock, plywood, plastic) to seal area from non-work area or implement control cube method (cart with plastic covering and sealed connection to work site with HEPA vacuum for vacuuming prior to exit) before construction begins. |  |  |  | Remove barrier materials carefully to minimize spreading of dirt and debris. Transport in tightly covered & sealed containers.
| Seal holes, pipes, conduits and punctures appropriately. Place dust mat at entrance and exit of work area. |  |  |  | Vacuum work area with HEPA filtered vacuums.
| Maintain negative air pressure within work site utilizing HEPA equipped air filtration units. |  |  |  | Wet mop area with disinfectant.
| Contain construction waste and transport in tightly covered & sealed containers before transporting. |  |  |  | Remove isolation of HVAC system.
CLASS IV | Isolate HVAC system in area where work is being done to prevent contamination of duct system Seal unused doors with tape. |  |  |  | Do not remove barriers until area is inspected by CRA Group and thoroughly cleaned by Environmental Services Department.
| Complete all critical barriers, (sheetrock, plywood, plastic) to seal area from non-work area or implement control cube method (cart with plastic covering and sealed connection to work site with HEPA vacuum for vacuuming prior to exit) before construction begins. |  |  |  | Remove barrier material carefully to minimize spreading of dirt and debris. Transport in tightly covered sealed containers.
| Seal holes, pipes, conduits and punctures appropriately. |  |  |  | Vacuum work area with HEPA filtered vacuums.
| Construct ante room & require all personnel to pass through so they can be vacuumed using a HEPA vacuum cleaner before leaving work area or they can wear cloth or paper coveralls that are removed each time they leave the work area. |  |  |  | Wet mop area with disinfectant.
| Personnel entering work area are required to wear shoe covers. Shoe covers must be changed each time worker exits work area. |  |  |  | Remove isolation of HVAC system.
Contain construction waste and transport in tightly covered & sealed containers before transporting.
Maintain negative air pressure within work site utilizing HEPA equipped air filtration units.